# Background on Rules Development for SB 5722

The Department of Commerce is authorized by SB 5722 to expand the Washington State Energy Clean Buildings Performance Standard (standard) rules to include smaller buildings, including multifamily. The ANSI/ASHRAE/IES Standard 100-2018, Energy Efficiency in Existing Buildings with Washington amendments in WAC 194-50, is the basis for these rules.

In passing SB 5722, it was the intent of the legislature to extend existing building benchmarking, energy management, and operations and maintenance planning requirements to smaller commercial and multifamily residential buildings in order to reduce greenhouse gas emissions in the buildings sector. SB 5722 requires Commerce to adopt requirements for building owner implementation consistent with the standard established pursuant to RCW 19.27A.250 and limited to energy management planning, operations and maintenance planning, and energy use analysis through benchmarking and associated reporting and administrative procedures.

Amendments will be made to make the standard consistent with the features prescribed in SB 5722. The standard will also be modified to clarify administrative procedures. Additional rules may be required outside of this standard as well.

The following draft rule has been developed by Commerce staff, who made modifications to the various sections of the standard to provide consistency between the rule and SB 5722.

Interested parties are encouraged to review modifications made by Commerce staff to the standard. Input can be provided on any element that will align the standard with the legislation or existing state laws, clarify application, or improve administrative procedures.

Stakeholders are invited to participate in workshops scheduled to review specific sections of this work. Commerce requests that written post workshop comments relating to sections covered at each workshop be received within by the scheduled time period posted on the Commerce Clean Buildings website.

Submit comments using the Tier 2 Rulemaking Public Comment Form

When proposing edits to the standard, please use a standard markup format that includes the following:

- Copy the entire sub-section to be edited

- Underline text to indicate additions

- Strikethrough text to indicate deletions

- For any new sections, provide suggested location in the document by referencing the previous section.

- Provide a reason statement for the change

All comments received will be posted on the Public Comment Summary Report

For schedules and more information, see Clean Buildings website: http://commerce.wa.gov/buildings

# LEGEND for Proposed Language Font Color:

Black font is from the ASHRAE Standard 100

Blue font represents Washington amendments in WAC 194-50

Red font are Track Changes showing draft additions and deletions

Comments identify amendment justification or source reference

Yellow Highlighted Track Changes in Annex Y highlight key differences between 
Tier 1-Annex Z and Tier 2-Annex Y

# Definitions and Annex Y – Tier 2 Administrative Procedures Workshop

This document covers additions to sections of the existing standard relative to SB5722 directly related to Definitions and Tier 2 Annex Y – Administrative Procedures.

- DEFINITIONS

3.1 General. Certain terms, abbreviations, and acronyms are defined in this section for the purposes of this standard. These definitions are applicable to all sections of this standard.

Terms that are not defined herein, but that are defined in standards that are referenced herein, shall have the meanings as defined in those standards.

Other terms that are not defined shall have their ordinarily accepted meanings within the context in which they are used. Ordinarily accepted meanings shall be based on American Standard English language use, as documented in an unabridged dictionary accepted by the authority having jurisdiction.

agricultural structure: a structure designed and constructed to house farm implements, hay, grain, poultry, livestock, or other horticultural products, and is not a place used by the public or a place of human habitation or employment where agricultural products are processed, treated, or packaged.

analog control: a control loop in which data is expressed or measured by means of one or more physical properties that can express any value along a continuous scale. All types of control systems may provide analog control.

applicable building codes: Washington state building codes as adopted by the Washington state building code council, and as modified by local government amendments.

authority having jurisdiction (AHJ): Washington state department of commerce.

baseline: the first-year energy use intensity for the building at the beginning of the compliance determination process.

benchmarking: the practice of comparing the measured performance of a device, process, facility, or organization to itself, its peers, or established norms, with the goal of informing and motivating performance improvement. When applied to building energy use, benchmarking serves as a mechanism to measure energy performance over time, relative to other similar buildings.

binary control: a control loop in which there are only two states, such as on-off or open-closed.

building: a structure, including mobile homes, manufactured homes, and other factory-built buildings, wholly or partially enclosed within exterior walls, or within exterior and party walls, and a roof, that affords shelter to persons, animals, or property.

building manager: the person responsible for maintaining the building, its envelope, and its energy-using systems. The building manager may also be the person responsible for expending funds on capital improvements to the building.

building operator: the person or persons who have responsibility to inspect, operate, and maintain the building systems and components that fall within the scope of this standard. The building operator may be an employee of the building owner, the building manager, or a contractor.

building owner: an individual or entity possessing title to a building. In the event of a land lease, the building owner is the entity possessing title to the building on leased land.

building tenant: a person or entity occupying or holding possession of a building or premises pursuant to a rental agreement.

campus: a collection of buildings served by a campus district heating, cooling, water reuse, and/or power system owned by the same building owner.

campus district heating and/or cooling system: a district heating and/or cooling system that serves a campus and is owned by the building owner.}

capital management plan: a financial plan to set aside capital to replace or upgrade building systems at the end of their useful life and/or to improve performance and energy efficiency.

certified commissioning professional: a person who is certified by an ANSI/ISO/IEC 17024:2012 accredited organization to lead, plan, coordinate, and manage commissioning teams and implement the commissioning process, and with experience commissioning at least two projects of similar size and of similar equipment to the current project and at least one in the last three years. This experience includes the writing and execution of verification checks and functional test plans.

complex: a group of buildings interconnected by conditioned spaces on contiguous property.

compliance extension: a 180 day compliance delay for Tier 2 covered buildings used by building owners that demonstrate the owner has benchmarked the building energy use in accordance with the standard but has not demonstrated full compliance with the energy management plan (EMP) and operations and maintenance (O&M) program documentation.

conditional compliance: a temporary compliance method for Tier 1 covered buildings used by building owners that demonstrates the owner has implemented energy use reduction strategies required by the standard but has not demonstrated full compliance with the energy use intensity target or investment criteria.

conditioned space: an area, room, or space that is enclosed within the building’s thermal envelope and is directly heated or cooled or is indirectly heated or cooled. Spaces are indirectly heated or cooled where they communicate through openings with conditioned spaces; where they are separated from conditioned spaces by uninsulated walls, floors, or ceilings; or where they contain uninsulated ducts, piping, or other sources of heating or cooling. (Also see, semi-heated space.)

connected buildings: a collection of buildings owned by the same building owner that are situated on the same or adjacent parcels and have shared energy meters.

contiguous property: adjoining property under sole ownership.

covered building: includes tier 1 covered buildings and tier 2 covered buildings.

crawl spaces: a shallow, unfinished space beneath the first floor or under the roof of a building.

daylight harvesting: the automatic control of electric light levels in response to the amount of daylight in the space.

daylight hours: the period from 30 minutes after sunrise to 30 minutes before sunset.

dimmer: a device that varies the current through an electric light in order to control its level of illumination and energy usage.

direct digital control (DDC): a control system consisting of microprocessor-based controllers that monitor and control building systems equipment through input devices (such as sensors), output devices (such as switches and actuators), and programmed control sequences.

director: the director of the department of commerce or the director’s designee.

discounted payback: the time when the accumulated savings achieved by an investment, discounted by the appropriate discount rate, equals the initial cost of the investment.

district heating and/or cooling system: a system that provides heating or cooling to multiple buildings through a distributed system providing steam, hot water, or cool water to buildings.

energy accounting system: a system for measuring, collecting, and documenting the building’s use of energy.

Washington State Clean Buildings Performance Standard	3

energy auditor: see qualified energy auditor.

energy cost: the total cost for energy supplied to a building or building site, including such charges as base charges, consumption charges, demand charges, customer charges, power factor charges, and miscellaneous charges such as sales taxes.

energy efficiency measure (EEM): an action taken in the operation or equipment in a building that reduces the energy use of the building without negative impact within the building.

energy manager (EM): the individual, identified by the building owner, who has responsibility for ensuring that energy use in the building is minimized without compromising the indoor environmental quality (building indoor air quality, thermal comfort, visual acuity and comfort, sound quality). The EM may be the building owner, a tenant, an employee of the owner or tenant, or a contractor retained by the owner or tenant.

energy target (EUIt): [Not adopted] See energy use intensity target (EUIt)

energy use intensity (EUI): a measurement that normalizes a building’s site energy use relative to its size. A building’s energy use intensity is calculated by dividing the total net energy used in one year by the gross floor area of the building, excluding the parking garage. “Energy use intensity” is reported as a value of a thousand British thermal units per square foot per year.

energy use intensity target (EUIt): the target for net energy use intensity of a covered building.

gross floor area: the total number of square feet measured between the exterior surfaces of the enclosing fixed walls of a building, including all supporting functions such as offices, lobbies, restrooms, equipment storage areas, mechanical rooms, break rooms,  and elevator shafts. Gross floor area does not include outside bays or docks.

gross floor area for nonresidential buildings: [Not adopted]

gross floor area for residential buildings: [Not adopted]

high-efficacy lamps: lamps with a minimum efficacy of 60 lm/W for lamps over 40 W, 50 lm/W for lamps over 15 to 40 W, or 40 lm/W for lamps 15 W or less.

HVAC system: the equipment, distribution systems, and terminals that provide the processes of heating, ventilating, or air conditioning to a building or portion of a building.

industrial process: a systematic series of mechanical or chemical operations that produce or manufacture something.

interactive effect: the change in resultant energy-savings estimates or actual energy savings due to analyzing or implementing multiple EEMs that interact with one another.

internal rate of return (IRR): the discount rate in a capital project that makes the net present value of all cash flows from a particular project equal to zero. The higher a project’s IRR, the more desirable it is to undertake the project. IRR can be used to rank several prospective projects under consideration. IRR is defined by the following equation:

where

n			= the useful life of the measure in years

CFt	= the annual cost savings of the measure in year t (cash flow in year t)

CF0	= the initial cost of the measure (cash flow initial)

lamp: a replaceable component of a luminaire, such as an incandescent light bulb, which is designed to produce light from electricity.

lighting schedule: a list that provides a count of all luminaires in the building, lighting controls, fixture types, and product information.

lighting power density: the lighting power per unit area of a building or a space in a building.

4	Washington State Clean Buildings Performance Standard

luminaire: a complete lighting unit consisting of a lamp or lamps (and ballasts and/or drivers when applicable) together with the housing designed to distribute the light, position and protect the lamps, and connect the lamps to the power supply.

maintain: the process of keeping equipment and components operating or functioning in accordance with manufacturers’ recommendations and industry standards over their service lives. It involves but is not limited to carrying out observation, lubrication, adjustment, calibration, testing, cleaning, replacement, and repair at appropriate intervals as applicable to the specific equipment or component.

more recently built buildings: buildings or additions greater than fifty thousand square feet in conditioned floor area permitted for construction based on the application permit date of July 1, 2016, or later. For example, buildings permitted to the 2015 edition of the Washington State Building Code, Chapter 51-50 WAC.

motion sensor: an occupancy sensor used for exterior areas.

ultifamily residential building: a covered multifamily building containing sleeping units or more than five (5) dwelling units where occupants are primarily permanent in nature.

multiscene control: a lighting control device or system that allows for two or more predefined lighting settings, in addition to an “all off” setting, for two or more groups of luminaires to suit multiple activities in the space, and allows the automatic recall of these settings.

net energy use: the sum of the metered and bulk fuel energy entering the building, minus the sum of metered energy leaving the building or campus. Renewable energy produced on a campus that is not attached to a covered building may be included. The same applies to portions of buildings with submetering. Bulk fuels are included using the equation in Section 5.2.2.1.

nighttime hours: the period from 30 minutes before sunset to 30 minutes after sunrise. nonrenewable energy: energy other than renewable energy or recovered energy.

nonresidential building: as used in this standard, any building that does not match one of the types of residential buildings listed in the Table 7-1.

nontarget buildings: buildings with activities not listed in Table 7-1 in more than 50% of the gross floor area.

occupancy sensor: a device that detects the presence or absence of people within an area and causes lighting, equipment, or appliances to be regulated accordingly.

optimized bundle: a collection of EEMs that maximizes the energy savings at a facility within the cost effectiveness criteria of the standard. It excludes any measure with a simple payback that exceeds the life of the measure. A bundle of measures is optimized by including the maximum number of EEMs within the bundle while still meeting the cost effectiveness criteria. The process for determining the optimized bundle may be an iterative one due to interactive effects of individual EEMs.

photosensor: a device that detects the presence of and/or measures the amount of visible light, infrared (IR) transmission, and/or ultraviolet (UV) energy, and emits a signal based on the presence, absence, and/or amount of these entities.

physical occupancy: space that is used by an owner or tenant regardless of occupant density and frequency of use. A building does not have physical occupancy and is considered unoccupied when 50% or more of the conditioned floor area is not leased or is otherwise vacant.

primary energy: see source energy.

qualified commissioning authority: [Not adopted]

qualified energy auditor: a person acting as the auditor of record, having training, expertise, and three years professional experience in building energy auditing, and being any one of the following:

- A licensed professional architect or engineer

- An energy auditor/assessor/analyst certified by ASHRAE or the Association of Energy Engineers (AEE) for all building types

qualified energy manager (QEM): an individual designated by the building owner who has three years of experience, including educational and/or professional experience, with commercial building operations and/or building energy management in addition to successful completion of clean buildings tier 2 training program as specified by the AHJ.

qualified person: a person having training, expertise, and three years professional experience in building energy use analysis, and being any of the following:

- A licensed professional architect or engineer in the jurisdiction where the project is located

- A person with Building Operator Certification (BOC) Level II by the Northwest Energy Efficiency Council

- A certified commissioning professional

- A qualified energy auditor

- A certified energy manager (CEM) in current standing, certified by the Association of Energy Engineers (AEE)

- An energy management professional (EMP) certified by the Energy Management Association

Washington State Clean Buildings Performance Standard	5

recommissioning: an application of the commission process requirements to a project that has been delivered using the commissioning process.

recovered energy: energy reclaimed for useful purposes that would otherwise be wasted.

residential building: [Not adopted]

savings-to-investment ratio: the ratio of the total present value savings to the total present value costs of a bundle of an energy or water conservation measure estimated over the projected useful life of each measure. The numerator of the ratio is the present value of net savings in energy or water and nonfuel or nonwater operation and maintenance costs attributable to the proposed energy or water conservation measure. The denominator of the ratio is the present value of the net increase in investment and replacement costs less salvage value attributable to the proposed energy or water conservation measure.

semi-heated space: an enclosed space within a building, including adjacent connected spaces separated by an uninsulated component (e.g., basements, utility rooms, garages, corridors) that is (a) heated but not cooled and has a maximum installed heating system output capacity of 3.4 Btu/(h·ft2) but not greater than 8 Btu/(h·ft2) and (b) not a walk-in or warehouse cooler or freezer space.

service life: see useful life.

service log: a document in which service and maintenance work performed for a given piece of equipment is recorded, and that contains a date, the service technician’s name, and a description of work performed.

simple payback (years): the estimated initial cost of an EEM divided by the estimated annual cost savings of the measure expressed in years. The cost savings may include energy cost savings and incremental routine operations and maintenance costs or savings.

site energy: energy consumed by a building as measured at the boundaries of the building site.

source energy: energy consumed by a building as measured at the building converted using source (primary) energy conversion factors to account for the energy consumed in the extraction, processing, and transport of primary fuels such as coal, oil, and natural gas; energy losses in thermal combustion in power-generation plants; and energy losses in transmission and distribution to the building. See also primary energy.

state equipment standards: appliance and equipment standards listed in Chapter 19.260 RCW, “Energy Efficiency.”

tier 1 covered building: a building where the sum of nonresidential, hotel, motel, and dormitory floor areas exceeds 50,000 gross square feet, excluding the parking garage area.

tier 2 covered building: a building where the sum of multifamily residential, nonresidential, hotel, motel, and dormitory floor areas exceeds 20,000 gross square feet, but does not exceed 50,000 gross square feet, excluding the parking garage area. Tier 2 covered buildings also include multifamily residential buildings where floor areas are equal to or exceed 50,000 gross square feet, excluding the parking garage area.

useful life: useful life is the expected remaining service life of building systems or equipment. Used interchangeably with service life.

weather normalized: a method for modifying the measured building energy use in a specific weather year to energy use under normal weather conditions.

weather normalized energy use intensity (WNEUI): measurement that normalizes a building’s site energy use relative to its size based on the building’s weather normalized site energy use. A building’s energy use intensity is calculated by dividing the total net weather normalized energy consumed in one year by the gross floor area of the building, excluding the parking garage. Weather normalized energy use intensity is reported as a value of a thousand British thermal units per square foot per year.

zone: a space or group of spaces within a building for which the heating, cooling, or lighting requirements are sufficiently similar that desired conditions can be maintained throughout by a single controlling device.

3.2 Abbreviations and Acronyms

AEE	Association of Energy Engineers

AHJ	authority having jurisdiction

DDC	direct digital control

EEM	energy efficiency measure

EM	energy manager

EMP	energy management plan

EUI	energy use intensity

IRR	internal rate of return

LCCA	life-cycle cost analysis

O&M	operations and maintenance

WSEC	Washington State Energy Code

WNEUI	weather normalized energy use intensity

(This is a normative annex and is part of the Tier 2 requirements of this standard.)

NORMATIVE ANNEX Y

WASHINGTON STATE TIER 2 COVERED BUILDINGS REPORTING REQUIREMENTS

- BUILDING OWNER NOTIFICATIONS BY THE AHJ

Y1.1 Notification to Building Owners of Covered Buildings by the AHJ. Based on records obtained from each county assessor and other available information sources, the AHJ must create a database of covered buildings and building owners required to comply with the standard established in accordance with this section. The database may include buildings and building complexes presumed to meet the definition of covered building and multifamily residential buildings greater than twenty thousand square feet in floor area.

Y1.1.1 The database will contain information about buildings that may be subject to compliance and their owners. The database will also contain information to assist tracking and reporting on building owner compliance, and incentive application and distribution. Commerce will create a method for tracking building owner notification responses. Each building or building complex will be assigned a unique building identifier.

Y1.2 By July 1, 2025, the AHJ must provide the owners of covered buildings with notification of compliance requirements.

Y1.3 Failure by the AHJ to provide the notification in Section Y1.2 does not release the building owner of the legal obligation to comply with this law. When a covered building undergoes a change of ownership, it is the buyer’s responsibility to contact the AHJ and update the building’s file.

- BUILDING OWNER RESPONSE TO NOTIFICATIONS

Y2.1 Correction of Errors. Building owners are responsible for reviewing the property and building information provided by the AHJ through notification, including but not limited to building or building complex ownership details, gross floor area, and other information as identified by the building owner.

Y2.1.1 Correction of Errors Documentation. Building owners who are notified in error may submit a correction to the AHJ. The correction will be used to document gross floor area (conditioned and unconditioned) and/or building type.

- WASHINGTON STATE REPORTING REQUIREMENTS FOR BUILDING OWNERS

Y3.1 General Compliance. The building owner of a Tier 2 covered building must report compliance with the standard to the AHJ in accordance with the compliance schedule established under Section Y3.2 and every five years thereafter. For each reporting date, the building owner must submit documentation to demonstrate that

- the weather normalized energy use intensity of the Tier 2 covered building measured in a period not to exceed two years prior to the compliance deadline specified in Normative Annex Y, Section Y3.1 compared to the energy use intensity target; and has developed and is maintaining an energy management plan (EMP) in accordance with Section 5, including an operations and maintenance program (O&M) in accordance with Section 6; or

- the covered building has received compliance extension from the AHJ based on extenuating circumstances; or

- the covered building is exempt from the standard by demonstrating that the building meets one of the criteria for an exemption.

Y3.2 Compliance Schedule. The building owner of a Tier 2 covered building must report the building owner’s compliance with the standard to the AHJ in accordance with the appropriate initial compliance date as follows and every five years thereafter.

- For a building with more than twenty thousand gross square feet but less than fifty thousand and one gross square feet and all multifamily residential buildings more than twenty thousand gross square feet: July 1, 2027.

Y3.2.1 Early Compliance Option. Building owners may submit for compliance to the AHJ beginning July 1, 2025. Energy use data for developing the net energy consumption of the covered building shall be measured in a period not to exceed two years prior to the submission of compliance documentation. This section expires June 1, 2027.

Y3.2.2 Application for Compliance Extension. Applications for a compliance extension must be submitted to the AHJ prior to the compliance date to receive a compliance extension approval.

- Compliance extension is valid for the EMP and O&M requirements of the standard

- Benchmarking is required and shall be reported in application for a compliance extension

Approved applications will receive a revised compliance date of 180 days. Application for compliance extension is limited to one application per compliance cycle.

Y3.2.3 Application for Exemption. Building owners submitting an application for exemption as specified in Section Y4.1 must submit to the AHJ no sooner than two years prior and no later than 180 days prior to the compliance date to receive exemption approval prior to the compliance date.

- DOCUMENTATION OF COMPLIANCE WITH THE STANDARD

Documentation of compliance shall be submitted to the AHJ demonstrating the building owner has complied with the standard through submission of documentation in accordance with Section Y4.1, Y4.2 or Y4.3.

Y4.1 Documentation of Compliance through Exemption. Building owners seeking approval of exemption shall submit to the AHJ Section Y6.7 Form H, “Application for Exemption Certificate,” documenting the following:

- Exemption Conditions. The building qualifies for one of the exemptions listed in Y4.1(2), and:

- Exemption Verification. Compliance with the exemption must be verified by the owner based on the building as it is to be occupied and operating on the compliance date.

- Exemption Application Timeframe. Applications for exemptions may be submitted no sooner than two years prior to the compliance date and submitted to the AHJ no later than 180 days prior to the compliance date.

- Exemption Certificate Validity. Exemptions certificates are only valid for the current compliance review cycle.

- Exemptions. Covered buildings are not eligible for exemption from the standards unless they meet at least one of the following criteria:

- Certificate of Occupancy. The building did not have a certificate of occupancy or temporary certificate of occupancy for a consecutive 12 month period within two years prior to the compliance date.

- Physical Occupancy. The building did not have physical occupancy by owner or tenant for at least 50 percent of the conditioned floor area throughout the consecutive 12 month period prior to the building compliance date.

- Floor Area. The sum of the building’s gross floor area minus unconditioned and semi-heated spaces, as defined in the Washington State Energy Code, is less than 20,000 square feet.

- Manufacturing or Industrial. More than 50 percent of the gross floor area of the building is used for manufacturing or other industrial purposes, as defined under the following use designations of the Washington state edition of the International Building Code:

- Factory group F or

- High hazard group H

- Agricultural. The building is an agricultural structure.

- Demolition. The building is pending demolition.

- Financial Hardship. The building meets at least one of the following conditions of financial hardship:

- The building had arrears of property taxes or water or wastewater charges that resulted in the building’s inclusion, within the prior two years, on a city or county’s annual tax lien sale list.

- The building has a court-appointed receiver in control of the asset due to financial distress.

- The building is owned by a financial institution through default by a borrower.

- The building has been acquired by a deed in lieu of foreclosure within the previous 24 months.

- The building has a senior mortgage subject to a notice of default.

- The building owner has an immediate and heavy financial need that cannot be satisfied from other reasonable available resources and that is caused by events that are beyond their control.

- Notification of Exemption Approved or Denied. After documents have been submitted and reviewed, the AHJ will send notification of approval or denial.

- If the exemption is approved, the AHJ shall notify the applicant stating the application has been approved and update the AHJ records for the building.

- If the exemption is denied, the AHJ shall notify the applicant stating the application has been denied and update the AHJ records for the building.

- Requesting Hearing for Denied Exemption. See Section Y5.7 Administrative Hearings.

- Compliance Required when Exemption Denied. When an application for exemption is denied, the building owner must proceed with the process to demonstrate compliance with one of the compliance options in Washington state reporting requirements for building owners in Sections Y4.2 through Y4.5.

Y4.2 Benchmarking - Building owners must provide the following documentation to verify that the building weather normalized EUI is compared to the building EUIt and that the energy management plan (EMP), including the operations and maintenance program (O&M) is complete and being implemented.

- Form A

- Form B

- Form C

Y4.3 Buildings Approved for a Compliance Extension Building owners seeking approval of a compliance extension for the energy management plan (EMP), including the operations and maintenance (O&M) program shall submit to the AHJ a compliance extension application along with the following documentation:

- Form A

- Form B

- Form C

Once compliance extension is approved,

- Documentation to verify that the EMP and O&M is complete and being implemented must be submitted to the AHJ by the revised compliance date.

Y5. VIOLATIONS, ASSESSMENT OF ADMINISTRATIVE PENALTIES AND REVIEW OF PENALTY DECISIONS

Y5.1 Authorization. The AHJ is authorized to impose administrative penalties on building owners for failing to submit documentation demonstrating compliance with the requirements of this standard. Failure to submit documentation demonstrating compliance by the scheduled reporting date will result in penalties by legal notice.

Y5.2 Notice of Violation, Opportunity to Correct, and Intent to Assess Penalties (NOVCI)

Y5.2.1 Notifying Owner of Failure to Demonstrate Compliance. The AHJ may issue a NOVCI when a building owner has failed to submit documentation that demonstrates compliance with this standard by the scheduled reporting date.

Y5.2.2 Issuing NOVCI. A NOVCI may be issued for any of the following reasons:

- Failure to submit a compliance report in the form and manner prescribed by the AHJ.

- Failure to submit compliance report by the revised compliance date after receiving compliance extension approval.

- Failure to provide accurate reporting consistent with the requirements of the standard.

- Failure to provide a valid exemption certificate.

Y5.2.3 Identifying Failure to Demonstrate Compliance. The AHJ will identify in the NOVCI the section(s) of law, code, or the standard for which the building owner has failed to demonstrate compliance.

Y5.2.4 Specifying Timeframe to Remedy. The NOVCI will specify the time by which the building owner must cure the violation by submitting documentation that demonstrates compliance with the identified section(s) of law, code, or the standard. The AHJ will give the building owner at least thirty calendar days to submit such documentation.

Y5.3 Response to NOVCI

Y5.3.1 Responding to NOVCI. Building owners must respond to a NOVCI within thirty days by meeting one of the following:

- Compliance: Submitting a compliance report in the form and manner prescribed by the AHJ.

- Exemption: Submitting an application for exemption in accordance with Section Y4.1 Documentation of Compliance through Exemption, if applicable;

- Compliance Extension: Submitting a compliance extension application in accordance with Section Y4.3 Buildings Approved for a Compliance Extension;

- Pay Penalties: Submitting their intent to pay the penalties by using the form provided by the AHJ; or

- Request Hearing: Submitting a request for an administrative hearing to challenge or mitigate the penalty in accordance with Section Y5.7 Administrative Hearings.

Y5.3.2 Missing NOVCI Response Deadline. If the building owner does not respond within thirty days in accordance with Section Y5.3.1 Responding to the NOVCI, the building owner waives their right to a hearing, and the director or their designee may issue a final order assessing the penalties described in the NOVCI.

Y5.4 Assessment of Administrative Penalties

Y5.4.1 Penalties for Building Owners. Failure to submit documentation demonstrating compliance with the standard by the date specified in a NOVCI will result in the assessment of administrative penalties at an amount not to exceed $0.30 per square foot of gross floor area.

Y5.4.1.1 Penalties for Building Owners Pursuing Relief. For building owners subject to a NOVCI who respond within thirty days:

- With Documentation Demonstrating Compliance or Successful Challenges. For building owners that submit documentation demonstrating compliance or are successful in their challenges:

  - Fines shall be waived.

  - Building owners may be eligible to apply for Early Adopter Incentive Program.

- Without Compliance Documentation or Unsuccessful Challenges. For building owners that have not submitted documentation demonstrating compliance by deadline or compliance extension deadline, or have an unsuccessful challenge,

  - The Tier 2 building owner will be assessed the maximum penalty of amount equal to $0.30 per square foot of gross floor area.

  - Building owners are not eligible to apply for Early Adopter Incentive Program.

  - The AHJ may by rule increase the penalty rates to adjust for the effects of inflation.

Y5.4.1.2 Building Owners that Choose to Pay the Fine Rather Than Pursuing Compliance. Building owners may choose to respond to the NOVCI by paying the maximum penalty.

- The Tier 2 building owner will be assessed the maximum penalty of $0.30 per square foot of gross floor area.

- Building owners are not eligible to apply for Early Adopter Incentive Program.

- Penalties are assessed for each compliance period.

Y5.4.2 Interest. Interest will accrue on civil penalties pursuant to RCW 43.17.240 if and when the debt becomes past due.

Y5.5 Due Date and Collection of Penalties

Y5.5.1 Penalties Due. Penalties shall become due and payable on the later of

- thirty days after receipt of the final order imposing the penalty, or

- the date specified in the final order imposing the penalty.

Y5.5.2 Debt Collection. If a penalty has not been paid by the due date, the AHJ may assign the debt to a collection agency as authorized by RCW 19.16.500 or take other action to pursue collection as authorized by law. If referred to a collection agency, the AHJ may add a reasonable fee, payable by the debtor, to the outstanding debt for the collection agency fee.

Y5.6 Payment of Administrative Penalties. Penalties will be payable in U.S. funds to the Washington state Department of Commerce, as specified by the AHJ.

Y5.7 Administrative Hearings

Y5.7.1 Requesting a Hearing. A building owner may request an administrative hearing after receiving a NOVCI or after the denial of their application for an exemption by submitting a request within thirty days of the date of a NOVCI or the denial of a timely application for exemption. All requests must be made in writing and filed at the address specified on the NOVCI. For convenience, the AHJ will attach a form titled “Request for Hearing” to the NOVCI that may be used to request an administrative hearing. Requests for hearing must be accompanied by the following:

- Washington State Building ID

- Submitted Annex Y Forms A, B, and C

Y5.7.2 Hearing Process. The AHJ may refer matters to the office of administrative hearings (OAH). Administrative hearings will be conducted in accordance with Chapter 34.05 WAC, “Administrative Procedure Act,” Chapter 10-08 WAC, “Model Rules of Procedure,” and the procedural rules adopted in this chapter. In the case of a conflict between the model rules of procedure and the procedural rules adopted in this section, the procedural rules adopted in this section take precedence.

Y5.7.3 Initial Orders to become Final Orders. Initial orders issued by the presiding officer will become final without further agency action unless, within twenty days,

- the director determines that the initial order should be reviewed, or

- a party to the proceeding files a petition for administrative review of the initial order.

Upon occurrence of either event, notice shall be given to all parties to the proceeding.

Y5.7.4 Judicial Review. A final order entered pursuant to this section is subject to judicial review pursuant to RCW 34.05.510 through 34.05.598.

Y5.7.5 Collected Penalties. Administrative penalties collected under this section must be deposited into the low-income weatherization and structural rehabilitation assistance account created in RCW 70A.35.030 and reinvested into the Clean Buildings program, where feasible, to support compliance with the standard.

60	Washington State Clean Buildings Performance Standard

Y6. COMPLIANCE FORMS

The following sections replace Standard 100, Normative Annex C, “Reporting Forms,” and provide additional forms specified by rule. Building owners are required to submit the applicable forms and the required supporting information to demonstrate compliance with the standard. These forms replace all referenced forms in this standard. The AHJ will make these forms available in an electronic format for submission to the AHJ.

Y6.1 Compliance with Standard 100 (Form A)

- Building identification:

- WA state building ID

- County

- County parcel number(s)

- Portfolio manager property ID number

- Property name

- Parent property name

- Address 1 (street)

- Address 2

- City

- State

- Postal code

- Contact information:

- Building owner name(s)

- Contact name

- Address 1 (street)

- Address 2

- City

- State/province

- Country

- Postal code

- Telephone number

- Email address

- Qualified person: (if applicable)

- Qualified person name

- Address 1 (street)

- Address 2

- City

- State

- Postal code

- Telephone number

- Email address

- Licensed, certified (select all that apply)

- Licensure, or

- certifying authority

- Qualified Energy manager (if not the qualified person):

- Qualified energy manager name

- Address 1 (street)

- Address 2

- City

- State/province

- Postal code

- Country

- Telephone number

- Email address

- Qualified Energy Manager certification number

- Energy manager (if different than the qualified person or qualified energy manager):

- Energy manager name

- Address 1 (street)

- Address 2

- City

- State/province

- Postal code

- Country

- Telephone number

- Email address

- Summary data:

- Energy use intensity target (EUIt) (kBtu/ft2/yr) based on completed Section Y6.2 Form B

Note: Buildings unable to develop EUIt in accordance with Section 7.2.2 or 7.2.3 of this standard shall report national median site EUI target as calculated by the Energy Star Portfolio Manager account and reported on Form C.

- Measured site EUI (kBtu/ft2) for the compliance year for this building based on Section Y6.3 Form C

- Measured weather normalized site EUI (kBtu/ft2) for the compliance year based on Section Y6.3 Form C

- List the months/year of the collected data (mm/yyyy—mm/yyyy) for the compliance year for this building from Section Y6.3 Form C.

- Buildings unable to comply with Section 5.2, “Building Energy Monitoring,” and complete Section Y6.3 Form C, shall provide a reason statement.

- Have the energy management requirements of Section 5 been met?

[ ] Yes [ ] No

- Upload energy management plan as specified by the AHJ.

- Have the operation and maintenance requirements of Section 6 been met?

[ ] Yes [ ] No

- Upload operation and maintenance implementation documentation as specified by the AHJ.

- Date the audit and economic evaluation was completed (N/A if none required)

- Upload audit reports as specified by Section Y6.4 Form D.

- We state that this building complies with ANSI/ASHRAE/IES Standard 100 as amended by the AHJ to conform with RCW 19.27A.210:

- Signature of building owner:

- Date:

- Signature of qualified person:

- Date:

- Signature of energy manager:

- Date:

- Signature of authority having jurisdiction:

- Conditional or final compliance:

- Date:

Y6.2 Building Activity and Energy Use Intensity Target (EUIt) (Form B). Complete form provided by the AHJ with the following information:

- Building identification:

- Washington state building ID

- County

- County parcel number(s)

- Portfolio manager property ID number

- Property name

- Parent property name

- Address 1 (street)

- Address 2

- City

- State

- Postal code

- List the building location Climate Zone, 4C or 5B. Determine the climate zone using the ASHRAE climate zone map located in Informative Annex G.

- Buildings located in Climate Zone 5C shall use Climate Zone 4C.

- Buildings located in Climate Zone 6B shall use Climate Zone 5B.

- The gross floor area in square feet shall be reported as defined in Section 3.

- If entire building is single activity/type not listed in Table 7-1, it should be listed as “building without target” on Section Y6.1 Form A. List “energy target” as “N/A” on Section Y6.2 Form B, and Section Y6.2 Form B is considered complete.

- Fill in fraction of gross floor area (A)i for each activity. For single-activity buildings this is 1.0.

- Fill in the operating shifts normalization factor (S)i from Table 7-3 for each activity.

- Fill in the activity energy target (EUIt1)i from Table 7-2 (or table from AHJ) for each activity.

- Calculate weighted space EUI target (A × S × EUIt1)i for each activity.

- Add up fraction of floor area and enter sum in “Total fraction of floor area with target,” and add up all weighted space EUI targets and enter sum as the “energy target” on Sections Y6.2 and Y6.1 Forms B and A.

- If more than fifty percent of gross floor area has no target, it should be listed as “building without target” on Section Y6.1 Form A. List “energy target” as “N/A” on Section Y6.2 Form B. For single-activity buildings this is 1.0.

Y6.3 Energy Use Intensity Calculations (Form C). Energy use intensity calculations shall be reported via the U.S. EPA’s ENERGY STAR Portfolio Manager (www.energystar.gov/benchmark). The energy manager is responsible for creating Energy Star portfolio manager record for each building.

Exception to Y6.3: Buildings unable to comply with Section 5.2, “Building Energy Monitoring,” shall demonstrate compliance at the connected buildings level.

The Energy Star portfolio manager building record shall be identical to the building activity/ type, fraction floor area, operating shifts (hours of operation), and gross floor area of the building as reported on Form B. All inputs shall be up to date prior to reporting as required in Section Y4, and annually as required in Section 5.1.2.3.

Prior to submitting reports, run the Energy Star portfolio manager data quality checker and make all corrections required to complete the report.

The energy manager shall use the EPA’s Energy Star portfolio manager share properties feature and share the property data with the AHJ by enabling the read-only access and exchange data feature.

For each report submitted under Section Y4, the energy manager shall create and submit a report documenting the required data fields listed (below) and other fields deemed necessary by the AHJ for the reporting period. This shall be submitted using the Washington state report specified in Energy Star portfolio manager.

Report fields shall include the following:

- Portfolio manager property ID

- Portfolio manager parent property ID

- Property name

- Parent property name

- Address 1

- Address 2

- City

- County

- State/Province

- Postal Code

- Primary property type—self-selected

- Primary property type—EPA calculated

- List of all property use types at property

- Property GFA—self-reported (ft2)

- Property GFA—EPA calculated (buildings and parking) (ft2)

- Property GFA—EPA calculated (buildings) (ft2)

- Property GFA—EPA calculated (parking) (ft2)

- Largest property use type

- Largest property use type—gross floor area (ft2)

- 2nd Largest property use type

- 2nd Largest property use—gross floor area (ft2)

- 3rd Largest property use type

- 3rd Largest property use type—gross floor area (ft2)

- Year built

- Occupancy

- Property notes

- Property data administrator

- Property data administrator—email

- Last modified date—property

- Last modified date—electric meters

- Last modified date—gas meters

- Last modified date—nonelectric nongas energy meters

- Local standard ID(s) Washington state building standard

- Data center—energy estimates applied

- Electricity use—grid purchase and generated from on-site renewable systems (kWh)

- Electricity use—grid purchase (kWh)

- Electricity use—generated from on-site renewable systems and used on-site (kWh)

- Natural gas use (therms)

- Fuel oil #1 use (kBtu)

- Fuel oil #2 use (kBtu)

- Fuel oil #4 use (kBtu)

- Fuel oil #5 and 6 use (kBtu)

- Diesel #2 use (kBtu)

- Kerosene use (kBtu)

- Propane use (kBtu)

- District steam use (kBtu)

- District hot water use (kBtu)

- District chilled water use (kBtu)

- Coal—anthracite use (kBtu)

- Coal—bituminous use (kBtu)

- Coke use (kBtu)

- Wood use (kBtu)

- Other use (kBtu)

- Default values

- Temporary values

- Estimated data flag—electricity (grid purchase)

- Estimated data flag—natural gas

- Alert—data center does not have an IT meter

- Alert—gross floor area is 0 ft2

- Alert—property has no uses

- Data quality checker—date run

- Data quality checker run—?

- Alert—energy meter has less than 12 full calendar months of data

- Alert—energy meter has gaps

- Alert—energy meter has overlaps

- Alert—energy—no meters selected for metrics

- Alert—energy meter has single entry more than sixty-five days

- Estimated values—energy

- Energy Star score

- National median site energy use (kBtu)

- Site energy use (kBtu)

- Site EUI (kBtu/ft2)

- Weather normalized site energy use (kBtu)

- Weather normalized site EUI (kBtu/ft2)

- Weather normalized site electricity (kWh)

- Weather normalized site electricity intensity (kWh/ft2)

- Weather normalized site natural gas use (therms)

- Weather normalized site natural gas intensity (therms/ft2) energy current date

- Electricity use—generated from on-site renewable systems (kWh)

- Electricity use—generated from on-site renewable systems and exported (kWh)

- Electricity Use—grid purchase and generated from on-site renewable systems (kBtu)

- Electricity use—grid purchase (kBtu)

- Electricity use—generated from on-site renewable systems and used on site (kBtu)

- Natural gas use (kBtu)

- Percent of total electricity generated from on-site renewable systems

- Cooling degree days (CDD) (°F)

- Heating degree days (HDD) (°F)

- Weather station name

- Weather station ID

Y6.4 Energy Audit Forms (Form D) Not applicable for Tier 2 covered buildings

Form E [Not adopted]

Y6.5 Annex X, “Investment Criteria,” Tool (Form F) Not applicable for Tier 2 covered buildings

Y6.6 Documentation of a Building of Historic Significance (Form G) Not applicable for Tier 2 covered buildings

Y6.7 Application for Exemption Certificate (Form H). Apply for an exemption certificate by submitting the following documentation in the form specified by the AHJ. The application must include the following:

- Building identification

- Washington state building ID

- County;

- County parcel number(s)

- Portfolio manager property ID number

- Property name

- Parent property name

- Address 1 (street)

- Address 2

- City

- State

- Postal code

- Contact information:

- Building owner name(s)

- Contact name

- Address 1 (street)

- Address 2

- City

- State/Province

- Country

- Postal code

- Telephone number

- Email address

- Building information:

- Primary building activity from Table 7-1, or a description of the nonlisted building type

- Building gross floor area

- Building gross conditioned floor area

- Reason for exemption (based on exemptions listed in Section Y4.1(b) a list all of documents enclosed and any facts in support of this application. Provide at least two of the acceptable documents listed below:

- Municipal or county records

- Documents from a qualified person

- Construction permit

- Certificate of occupancy or application for certificate of occupancy

- Demolition permit

- Financial statements such as statement of assets; liabilities, capital, and surplus, statement of 
revenue and expenses; or statement of case flow

- A letter from the building owner stating facts and explaining financial hardships

- Other documentation approved by the AHJ

- Signature and statement of building owner stating that the authorized representative of the building affirm and attest to the accuracy, truthfulness, and completeness of the statements of material fact provided in this form

Y7. SECTION 7 TABLES AS MODIFIED BY WASHINGTON STATE

See Normative Annex Z – Washington State Reporting Requirements for:

- Table 7-1 Commercial Building Types/Activities

- Table 7-2a Building Activity Site Energy Targets (EUIt1) (I-P Units)

- Table 7-3 Building Operating Shifts Normalization Factor